Chemical analysis price table/Water, Environment and Arid Regions Research Centre (WEARRC):

- Drinking and waste water analysis:

| Notes | Responsible person | Price (JD) | Method and Instrument | Analysis |  |
| --- | --- | --- | --- | --- | --- |
| Physical Property |  |  |  |  |  |
|  | Eng. Raya Alomoush e.mail: raya1moush@yahoo.com | 10 |  | Colour | 1 |
|  |  | 5 |  | Taste | 2 |
|  |  | 10 |  | Oder | 3 |
|  |  | 5 | Turbidity meter | Turbidity | 4 |
|  |  | 2 |  | Temperature of Water Source | 5 |
| Chemical Property |  |  |  |  |  |
|  |  | 10 ( Each) 35 (2-5 Element) | -Inductively Coupled Plasma | Heavy metals* (Iron, Manganese, Nickel, Zinc, Cadmium, Cobalt, Lead, Chromium, Copper, Silver, Aluminium, Barium, Beryllium, Lithium, Molybdenum, Stannous, Vanadium, Boron) | 6 |
|  |  | 10 ( Each) | -Atomic Absorption Spectrometer | Heavy metals* (Iron, Manganese, Nickel, Zinc, Cadmium, Cobalt, Lead, Chromium, Copper, Silver, Aluminium, Barium, , Molybdenum, Magnesium , Sodium, potassium, strontium) | 7 |
|  |  | 5(Each) 20 (whole) | - Flame Emission Photometer | Sodium , Potassium , Lithium, calcium, Barium | 8 |
|  |  | 5 5 | -EDTA Titration | -Calcium - TH | 9 |
|  |  | 10 10 | - Photometer | -Calcium - TH | 10 |
|  |  | - 10 (Each) - 10 (Each) - 35 (7 anion) | - Ion Chromatograph | -Bromide,Fluoride, Chloride -Nitrite, Nitrate, Phosphate, Sulfate | 11 |
|  |  | 5 | - UV-spectrophotometer | Nitrate | 12 |
|  |  | 10 | - Stannous Chloride method | Phosphate | 13 |
|  |  | 5 | - Argentometric method | Chloride | 14 |
|  |  | 5 | - Photometer | Free Residual Chlorine Cl2 (FRC) | 15 |
|  |  | 10 | - Turbidimetric method | Sulfate | 16 |
|  |  | 8 | - Titration method | Alkalinity as CaCO3 | 17 |
|  |  | 5 | - Titration Method | Carbonate | 18 |
|  |  | 5 | - Titration Method | Bicarbonate | 19 |
|  |  | 10 | - Dried at 103-105 º | Total suspended Solids (TSS) | 20 |
|  |  | 2 | -Instrumental measurement | Total Dissolved Solid (TDS) | 21 |
|  |  | 10 | - Dried at 180º | Total Dissolved Solid (TDS) | 22 |
|  |  | 15 | - Closed Reflux, Titrimetric | Chemical Oxygen Demand | 23 |
|  |  | 15 | - 5-Day BOD test | Biochemical Oxygen Demand | 24 |
|  |  | 2 | - Conductivity meter | Electrical Conductivity | 25 |
|  |  | 2 | - PH-meter | PH | 26 |
|  |  | 10 | - Photometer | Nitrate | 27 |
|  |  | 15 | - Photometer | Total nitrogen | 28 |
|  |  | 20 | - Photometer | Phenol | 29 |
|  |  | 20 | - Photometer | Total organic carbon TOC | 30 |
|  |  | 10 | - Photometer | Ammonium NH4+ | 31 |
|  |  | 5 | - Ion selective electrode | Ammonium NH4+ | 32 |
|  |  | 30 | Enzyme Substrate Test (Colilert-IDEXX) | Total Coliforms and Escherichia coli | 33 |
|  |  | 15 | - MTF method | Total Coliform Count | 34 |
|  |  | 15 | MTF method | Escherichia coli | 35 |
|  |  | 15 | MTF method | Fecal Coliforms (Total Thermotolerant Coliform Count-TTCC) | 36 |
|  |  | 20 | Bacterial Enzyme Detection Technology "Pseudolert" From IDEXX | Pseudomonas aeruginosa | 37 |
|  |  | 15 | MTF method | Pseudomonas aeruginosa | 38 |
|  |  | 15 | Membrane Filtration | Fungi | 39 |
|  |  | 15 | Membrane Filtration | Free Living Nematodes | 40 |
|  |  | 15 | Sedimentation Technique | Algae | 41 |
|  |  | 25 | Package of test | Total cost for monthly analysis for drinking water station ( Total coliform E.coli, Pseudomonas, Fungi, NO3) | 42 |
|  |  | 50 | Solid Phase Extraction/ Gas Chromatography/Mass Spectrometer | OrganoChlorinated Pesticides (OCPs)-16 compounds** | 43 |
|  |  | 75 | Solid Phase Extraction / Gas Chromatography/Mass Spectrometer | Poly AromaticHydrocarbons (PAHs)-16 EPA compounds** | 44 |
|  |  | 75 | Solid Phase Extraction / Gas Chromatography/Mass Spectrometer | Poly ChrorinatedBiphynels (PCBs)-14 congeners** | 45 |
|  |  | 75 | Solid Phase Extraction / Gas Chromatography/Mass Spectrometer | ploychlorinateddibenzo-p-dioxins (PCDDs) and polychlorinateddibenzofurans (PCDFs)-17 congeners** | 46 |

* 15 JD should be added if sample need acid digestion

** 50 JD should be added if sampleneed extraction and cleaning

|  | Description | No of samples collected | Destination | Price (JD/Trip/day) vehicle | Price (JD/Trip/day) personnel |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  | price | price |
| 47 | Sampling by lab personnel & vehicle | ≤3 | Within Mafraq city | 20 | 10 |
|  |  | ≥3 |  | 20 | 20 |
|  |  | ≤3 | Outside Mafraq city | 40 | 20 |
|  |  | ≥3 |  | 40 | 40 |

- Rocks, Minerals and soil analyses:

| Notes | Responsible person | Price (JD) | Method and Instrument | Analysis |  |
| --- | --- | --- | --- | --- | --- |
|  | Eng. ManalAlessa Email: eng_manal_alissa13@yahoo.com | 10 10 30 | - XRF spectrometer 1.Sample preparation (fusion) 2.Sample preparation (Milling & crushing) 3. XRF analysis | Elemental Composition | - 48 |
|  |  | 10 30 | - XRD Spectrometer 1. Sample preparation (Milling & crushing) 2. XRD analysis | Metal Composition | 49 |
|  |  | 10 30 3 25 | - Scanning Electron Microscope - Sample preparation (Coating) - Image (include 5 image) for extra image - Chemical analysis (EDAX) | Scanning Electron Microscope Analysis | 50 |
|  |  | 10 25 50/hour | Electron Microprobe Analyzer - (Coating) - Thin section - Analysis per hour | Electron Microprobe Analyzer (EMPA) | 51 |

3. Organic materials analyses:

| Notes | Responsible person | Price (JD) | Method and Instrument | Analysis |  |
| --- | --- | --- | --- | --- | --- |
|  | Dr. MohanadMasad Email: mohanad@aabu.edu.jo | 25 50 | - GC-MS: - without extraction -with extraction | Quantitative & Qualitative Analysis of Organic Compounds by:GC/MS | 52 |
|  |  | 25 | - GC-MS | Quantitative & Qualitative Analysis of Organic Compounds by: MS (DI) | 53 |
|  |  | 15 | - Elemental Analyzer | Carbon, Hydrogen, Nitrogen, Sulfur: | 54 |
|  |  | 75 | Solid Phase Extraction / Gas Chromatography/Mass Spectrometer | ploychlorinateddibenzo-p-dioxins (PCDDs) and polychlorinateddibenzofurans (PCDFs) ** | 55 |
|  |  | 75 | Solid Phase Extraction / Gas Chromatography/Mass Spectrometer | Poly ChrorinatedBiphynels (PCBs) ** | 56 |
|  |  | 10 15 25 30 30 | - NMR Spectrometer - H1 - H1 + normal C13 - H1 +normal C13 +DEPT C13 - 2 D experiment - cooling | NMR Analysis | 57 |

** 50 JD should be added if sampleneed extraction and cleaning